HYGIENE+ outlet

F22/100

50 units

Reference: AT923022.50P

Specification description

HYGIENE+ free flow outlet F22/100 for basin mixers and taps.

With no grid or partitions in contact with the water.

Water cannot stagnate in the internal part, reducing bacterial development.

Made from Hostaform® which reduces the build-up of scale.

Chrome-plated brass collar.

Supplied in packs of 50.

Sold individually.

Can only be installed on a mixer/tap with a restricted flow rate to ensure a good flow with no splashing.