Push-fit connector M24/125

For wall-mounted fixed showers or shower panels

Reference: AT820125

Specification description

Push-fit connector M24/125 for wall-mounted fixed showers or shower panels.

For quick and easy installation of filtration devices on wall-mounted showers or a DELABIE shower panel (SPORTING, SECURITHERM, etc.). For mounting on a PRESTO shower panel (DL400...) we recommend using an adapter (ref. AT03017).