Shower head retaining collar

For shower grab bars Ø 25-35mm

Reference: AT830

Specification description

Shower hose retaining collar for shower riser rails Ø 25 to 35mm.

In addition to the shower head holder, fixes to the shower hose.

Retaining device: prevents shower head from coming into direct contact with the floor or the floor trap (source of bacterial contamination).